CODE OF PRACTICE FOR PARTICLEBOARD &

ORIENTED STRAND BOARD (OSB) FLOATING FLOORS (WPIF INDUSTRY STANDARD)

| Contents |  | Page |
| --- | --- | --- |
| Foreword |  | 1 |
| Section 1: | General |  |
| 1.1 | Scope | 1 |
| 1.2 | Definitions | 1 |
| Section 2: | Materials |  |
| 2.1 | Particleboard | 3 |
| 2.2 | Oriented Strand Board | 3 |
| 2.3 | Vapour control layer (VCL) | 3 |
| 2.4 | Damp-proof membrane (DPM) | 3 |
| 2.5 | Timber battens | 3 |
| 2.6 | Insulation | 4 |
| Section 3: | Transport, Handling and Storage |  |
| 3.1 | General | 5 |
| 3.2 | Transport and delivery | 5 |
| 3.3 | Storage | 5 |
| Section 4: | Construction of base |  |
| 4.1 | Surface finish and levels | 5 |
| 4.2 | Protection against ground water | 6 |
| 4.3 | Eliminating construction moisture | 6 |
| Section 5: | General Requirements for the Installation of Particleboard & OSB Floors |  |
| 5.1 | Protection | 6 |
| 5.2 | Particleboard & Oriented Strand Board Moisture Content | 6 |
| Section 6: | Installing a Continuously Supported Floating Floor | 7 |
| 6.1 | Insulation | 8 |
| 6.2 | Moisture & vapour control layer | 8 |
| 6.3 | Particleboard overlay | 9 |
| 6.4 | Plasterboard Planks | 9 |
| 6.5 | Movement gaps | 9 |
| 6.6 | Access to pipes & services | 10 |
| 6.7 | Thresholds | 10 |
| 6.8 | Partition loading | 11 |
| Section 7: | Installing a Self Supporting Floating Floor | 12 |
| 7.1 | Timber Battens | 12 |
| 7.2 | Insulation | 12 |
| 7.3 | Moisture & vapour control layer | 12 |
| 7.4 | Particleboard & OSB overlay | 13 |
| 7.5 | Plasterboard planks | 13 |
| 7.6 | Movement gaps | 13 |
| 7.7 | Access to pipes & services | 13 |
| 7.8 | Thresholds | 14 |
| 7.9 | Partition loading | 14 |
| Section 8: | Finishing |  |
| 8.1 | Carpet & sheet flooring | 15 |
| 8.2 | Ceramic Tiling | 15 |
| Appendix: | Publications referred to in this code | 16 |

Note.

The European specification for the performance of floating floors is BS EN 13810-1 and this is the specification to which reference should be made in the UK for the requirements and design of floating floors.

Guidance on the installation of floating floors is provided in Annex A of the above specification, while the method of testing the performance of floating floors is given in DD CEN/TS 13810-2.

The Wood Panel Industries Federation industry standard for floating floors is reproduced below as it contains considerably more detailed guidance on the installation of floating floors than is contained in BS EN 13810-1, thereby complementing the European standard.

Foreword

The preparation of this Code of Practice IS (WPIF) 3/2014 as an Industry Standard has been undertaken by the Wood Panel Industries Federation (WPIF) Flooring Working Group under the direction of the Technical Committee of the WPIF.

As a Code of Practice, IS (WPIF) 3/2014 contains recommended provisions.

It should be noted that compliance with this standard, even where it is specified in a contract, does not itself confer immunity from legal obligations arising from common law or statute.  Neither does the Wood Panel Industries Federation, in establishing the standard for the commercial assistance of buyers and sellers, enter into any legal commitment or incur any commitment other than advisory thereby.

Section 1	General

1.1	Scope

This Code of Practice IS (WPIF) 3/2014 gives recommendations for the selection of materials in, and the construction of, particleboard (wood chipboard) and Oriented Strand Board (OSB) floating floors with boarding, either continuously supported or self-supporting.  Floating floors are suitable for use on ground or intermediate floors provided in the former the performance requirements in Approved Document Parts E (acoustics) and L (thermal) are satisfied.  It applies only to domestic floating floors subject to an imposed load not exceeding 1.5kN/m2 (BS 5268 design) and 2.0kN/m2 (Eurocode design): however, the concepts are applicable to other building types provided the floor loading and acoustic requirements are satisfied.

Continuously supported floating floors of the type described can contribute to the thermal performance and attenuation of sound transmission performance of floors, but the specifier must ensure that the required performance is met.  The design detailing shown in IS (WPIF)3/2014 is intended to maximise performance from the floating overlay, and although some of the concepts are applicable to both thermal and acoustic floors, the detailing shown in IS (WPIF)3/2014 would not necessarily satisfy all thermal or acoustic requirements.

1.2	Definitions

1.2.1 Continuously Supported (IS (WPIF)3/2014)

A floor system in which the wood-based panel overlay has uninterrupted support from beneath.  Support is provided by a structural sub-floor and a resilient insulation material is placed between the sub-floor and the overlay.  A vapour control layer and a damp proof membrane will normally be incorporated in the system.

1.2.2 Self Supporting (IS (WPIF)3/2014)

A floor system in which the wood-based panel overlay has discontinuous support from beneath at predetermined and regular intervals.  Support is usually provided by timber battens or joists.  The system may incorporate a resilient insulation material between the supports.  A vapour control layer and a damp proof membrane will normally be incorporated in the system.

1.2.3 Damp-proof membrane

Layer or sheet of material within a floor or similar construction, or vertically in a wall to prevent the passage of moisture.

1.2.4 Floor Base

Material that supports a flooring sub-base or flooring.

1.2.5 Floor Slab

Slab of large area that performs the function of a structural floor.

1.2.6 Floating Floor (BS EN 13810-1)

Decking of wood-based panels continuously supported by one or more resilient materials, without being fixed to the floor base

1.2.7 Oriented strand board (OSB) (BS EN 300)

Multi-layered board made from strands of wood of predetermined shape and thickness together with a binder.  The strands in the external layers are aligned and parallel to the board length or width; the strands in the centre layer or layers can be randomly oriented, or aligned, generally at right angles to the strands of the external layers.

1.2.8 Particleboard (BS EN 309)

Panel material manufactured under pressure and heat from particles of wood (wood flakes, chips, shavings, sawdust, wafers, stands and similar) and/or other lignocellulosic material in particle form (flax shives, hemp shives, bagasse fragments and similar) with the addition of an adhesive.

1.2.9 Pre-cast Concrete Floors

Includes concrete beams with infilling blocks; concrete planks and other types of suspended pre-cast floors.

1.2.10 Screed (BS EN 13318)

A layer or layers of screed material laid in situ, directly onto a base, bonded or unbonded, or onto an intermediate layer or insulating layer, to obtain one or more of the following purposes:

- to obtain a defined level;

- to carry the final flooring;

- to provide a wearing surface.

1.2.11 Levelling Screed (BS 8204)

A screed suitably finished to obtain a defined level and to receive the final flooring

1.2.12 Vapour Control layer

Material or part of a construction element that offers a high resistance to the passage of water vapour.

Section 2	SELECTION OF SuitablE Materials

2.1	Particleboard (wood chipboard)

Particleboard should conform to BS EN 312 and be of grade P5 or P7 and be tongued and grooved on all four edges.

Board thickness is dependent upon the specification and boards may have surface protection if required.

Note: P5 is the most commonly available grade.

2.2	Oriented strand board (OSB)

Oriented Strand Board should conform to BS EN 300 type OSB/3 or OSB/4 and be tongued and grooved on all four edges.

Board thickness is dependent upon the specification and boards may have surface protection if required.

2.3	Vapour Control Layer (VCL)

A vapour control layer providing a vapour resistance of not less than 200 MNs/g should be provided, e.g. 250 micron (minimum 1000 gauge) polythene.

2.4	Damp-proof Membrane (DPM)

Materials and methods for damp-proofing solid floors are described in CP102 and BS 8102 and it should not be assumed that existing ground supported concrete floors are adequately damp-proofed.  Table 1 illustrates typical methods for providing a continuous membrane.  Where a liquid DPM is applied to the surface of a concrete floor, compatibility between the DPM and the insulation layer should be checked.

Table 1: Typical alternative methods of providing a DPM for concrete floors

| Below the slab | On the surface of the slab | Between the floor slab and the screed |
| --- | --- | --- |
| Membrane not less than 300 micron (1200 gauge) or 250 micron (1000 gauge) if BBA or WILMLAS certified Bitumen sheet to BS 6398 “Materials for damp-proof courses” | Hot applied asphalt to BS 6925 or pitch mastic Cold applied pitch/epoxy resin | Any sheet material given in the previous column Hot applied asphalt to BS 6925, pitch or bitumen Three full coats of cold applied bituminous solutions, cold tar, pitch or rubber emulsion Composite polyethylene and bitumen self-adhesive not less than 0.6mm thick |

2.5	Timber Battens

Battens should be preservatively treated in accordance with BS 8417.  Battens shall have a moisture content not exceeding 20% at the time of installation.  Where battens have been treated with a water-borne preservative they should be re-dried to a moisture content not exceeding 20%.

Battens should not be less than 47mm wide and the depth should be greater than the insulation thickness to allow for shrinkage of the batten resulting from drying to its equilibrium moisture content.

2.6	Insulation

Insulation materials may include the following

Table 2

| Material | Continuously supported Minimum Density kg/m3 | Self supporting Minimum Density kg/m3 |
| --- | --- | --- |
| Expanded polystyrene | 15 | 15 |
| Extruded polystyrene | 25 | 25 |
| Mineral wood slab | 150 | 80 |
| Mineral wool quilt | - | 12 |
| Polyurethane foam board | 26 | 26 |
| Phenolic foam board | 40 | 40 |

NOTE 1:	When choosing the insulation type, consideration should be given to the loading, thermal and acoustic requirements of the floor (see 1.1).

Guidance on the calculation of the thickness of alternative insulation materials is given in Approved Documents L1A, L1B, L2A and L2B, Technical Handbooks Domestic Energy; Parts F1 & F2 Technical Booklets (Northern Ireland) and the CIBSE Guide A: Environmental Design 2006.

NOTE 2:	The insulation layer should be continuous i.e. without gaps.  When fitting insulation between battens it is essential to avoid gaps which would create cold bridges.

NOTE 3:	Proprietary pre-bonded flooring products are available which combine the insulation with the flooring overlay board.

Section 3	TRANSPORT, HANDLING AND STORAGE

3.1	General

Boards are designed for use in a dry condition.  Precautions should be taken during storage prior to delivery, during transport, and on site, to ensure that the boards are adequately protected.

3.2	Transport and Delivery

Boards should be adequately protected by a waterproof covering during all transportation and should be fully protected from damage by lashings or other bindings and should be loaded to avoid distortion.

3.3	Storage

Boards should be stored undercover and should be stacked flat, off the ground on a dry level surface, with all four edges flush.  The height off the ground should be sufficient to avoid rain splashback.

The top of the stack should be covered with a weighted protective covering to counteract any tendency of the topmost board to warp.

NOTE: The ideal base is a close boarded or slatted pallet.  If this is not possible the boards should be carefully stacked on battens of equal thickness at centres not exceeding 600mm.  Where stacks are placed on top of one another, bearers should line up to prevent localised distortion.

Where storage outside is unavoidable, stack on dry level ground and protect with a waterproof sheet.  Ensure all edges are covered and secured to avoid lifting by the wind.

Containerised storage is recommended.

Section 4	Construction of Base

4.1	Surface Finish & Levels

The surface finish of a concrete or screed base should be similar to that produced by a float finish.  Surface regularity should be class SR2 or better to BS 8204 part 1, i.e. maximum 5mm deviation from under a 3 metre straightedge.  Particular attention should be paid to movement joints and to screed and bay junctions so as to avoid undulations and other surface irregularities.

Pre-cast concrete floors should have a level flat surface (see figure 2).  If deviations occur a levelling screed may be required.

NOTE 1:	Where deviations occur in the base, these can be telegraphed into the particleboard or OSB overlay (this applies particularly to isolated deviations even where they may be within the allowable tolerance).

NOTE 2:	Consideration should be given at the design stage to allow for any loading restrictions that may be encountered with block and beam construction.

4.2	Protection Against Ground Water

In all cases where particleboard and OSB flooring is used over in-situ concrete floor construction, a damp-proof membrane should be positioned over the slab to protect the floor deck from residual moisture.  (See 2.4)

NOTE1:	A DPM above the slab may not be necessary if there is a DPM below the slab and the slab moisture content has been determined by test as being below 5% (visual inspection should not be used, as a slab can have a relatively high moisture content even when the surface appears dry).  With polymer modified concrete and screeds the guidelines of drying times of one month for each 25mm of slab thickness cannot be relied upon.

NOTE 2:	Where block and beam construction is used at ground floor level, the void beneath should be fully ventilated in accordance with the Building Regulations.  A DPM is required above a block and beam floor if the minimum clearance is below 75mm, or the void is unventilated or the ground in the void is below the surrounding ground level and not effectively drained.

4.3 Eliminating construction moisture

The floor should not be constructed until hygrometer tests as per Annex A of BS 8201 are below 75% relative humidity.  Drying times can be estimated to be for a 50mm screed on a membrane to be approximately 2 months.  Whereas concrete of 150mm thickness over a membrane may require as much as a year to dry where only one face is exposed.  These factors will help the decision making process as a screed laid over a concrete slab with a membrane between will dry quicker than a concrete slab, or the use of a DPM over the base.  A vapour control layer must be used in the construction of the floor as well as the DPM in the concrete or screed base construction.

SECTION 5	General Requirements For The Installation of Particleboard and Oriented Strand Board FLOATING Floors

5.1	Protection

Unless otherwise advised by the manufacturer, boards should not be laid until all wet trades are completed and the building has dried out.  In wet construction (i.e. brick and block work) the overlay floor should not be installed until the latest opportunity.  In dry conditions, e.g. Timber Frame, the overlay floor should only be installed as a working platform once the building is watertight.  After laying, the floor should be protected from dirt and moisture.  Any factory applied temporary protective layer should be retained in place for as long as possible.

5.2	Moisture Content

Boards should be conditioned to a moisture content appropriate for the intended use.  Packs should be opened, boards separated to allow free air movement and left in the building where they are to be fitted for at least 48 hours before laying.

NOTE:	Typically particleboard and OSB (as given in 2.1 & 2.2) have an ex works moisture content of 7% to 10% and 5% to 9% respectively.  When it is installed into the building the moisture content can increase to around 16% in a building under construction during winter months.  After completion, the moisture content of the particleboard and OSB will generally reduce to a value of between 6 to 10%.

As a guide, a change in moisture content of 1% typically results in a corresponding dimensional increase or decrease in length and width of 0.3mm per metre.

Although expansion is the most usual movement encountered, in areas with higher than average temperatures, shrinkage can occur.

Section 6	INSTALLING A CONTINUOUSLY SUPPORTED FLOATING FLOOR

(Typical construction is shown in Figures 1 & 2 below)

Figure 1	Floating floor on an insitu concrete substructure

Figure 2	Floating floor on a precast concrete substructure

6.1	Insulation

The insulation should be placed on the sub-floor, butting the joints tightly together with no gaps between adjoining sections.  Battens should be provided where recommended by the insulation manufacturer, at room perimeters, access traps, thresholds etc (see Figure 3).  Sheets should be laid so that joints will not be coincident with the floating floor.  Additional advice on the positioning of insulation is given in the BRE Publication "Thermal insulation: avoiding risks".

Figure 3	Detail of perimeter of floor

NOTE:	The thickness of insulation is dependent upon the U-value required and the insulation type specified (see clause 2.5).

6.2	Moisture and Vapour Control Layer

All floating floors should incorporate a vapour control layer.   A moisture and vapour control layer providing a vapour resistance of not less than 200 MNs/g e.g. 250 micron (minimum 1000 gauge) should be laid above the insulation layer and should be upturned by at least 38mm around perimeter walls.  Any joints in the sheet should be lapped 150mm (minimum) and the joints taped with a vapour resistant tape.

Proprietary composite floor panels with pre-bonded plastic insulation have a relatively high vapour resistance, and it is therefore acceptable to locate the vapour control layer beneath the insulation.

NOTE 1:	Although precast concrete floors are essentially dry, protection with a VCL  (on all floor levels) is needed to protect against residual moisture from construction or exposure to weather.

NOTE 2:	Where the floating floor is installed above ground floor level on top of an existing timber sub floor for acoustic purposes, a VCL is not required.

6.3	wood based panel overlay

Only particleboard types P5 or P7 or OSB/3 or OSB/4 (see clause 2.1 and 2.2) should be used as the floating overlay board on a continuously supported floor.  For domestic use, boards of not less than 18mm for particleboard and 15mm for OSB should be used.  (For non-domestic use, or for floors requiring restricted deflection, boards of not less than 22mm for particleboard and 18mm for OSB should be used).

Board joints should be staggered and should not coincide with the joints in the insulation.  All tongued and grooved joints should be glued with an adhesive conforming to at least durability class D3 of EN 204.  Adhesive should be liberally applied so as to coat both surfaces of the tongue and groove.

6.4 Plasterboard Planks

There are many different systems available on the market where plasterboard planks are used to provide added acoustic performance for floating floors.  Where a plasterboard plank is employed between the structural deck and the floating floor wood-based panel overlay the plasterboard planks should be at 90o to the floating floor overlay boards.

The manufacturer’s instructions should be followed for the fixing details and materials used for their particular system.

6.5	Movement Gaps

It is essential to allow for possible expansion by providing a gap wherever boards abut any rigid upstand such as a perimeter wall/internal load-bearing walls, column, pipes or fireplace surround.  The gap at each edge of the floor should be equal to 2mm/metre run of floor but not less than 10mm wide.  Movement gaps should be kept free of debris.  For floors where the movement gap cannot be dealt with at the perimeter alone or which are in excess of 10 metres long e.g. corridors, intermediate movement gaps (minimum 10mm) should be incorporated (see Figure 4).

NOTE 1:	Intermediate movement gaps should be filled with resin bonded cork, impregnated softboard or equivalent, (maximum density 160kg/m3) or covered with cover strip.

It may be necessary to increase the size of the movement gap to allow for the relative compressibility of the different filler materials that may be used.

NOTE 2:	Where manufacturer’s instructions are supplied with the boards, their recommendations should be followed.

NOTE 3:	Packers or wedges should be used to maintain perimeter gaps and can also be used to assist in tightening board joints.  Packers or wedges should be removed immediately once the adhesive has set.  The floor should be kept free of pedestrian traffic before the adhesive has set.

NOTE 4:	Floor expansion is the most common effect encountered, however in areas with higher than average temperatures e.g. nursing homes, hospitals etc shrinkage can occur.

Figure 4	Detail of typical intermediate movement joint

6.6	Access to Pipes and Services

Before laying the floating floor, consideration should be given to the provision of access to pipes and services.

Proprietary systems or square edged boards screwed to timber battens to allow access should be used (see Figure 5).

Figure 5	Typical service duct detail

6.7	Thresholds

At openings in walls built directly off the concrete substructure a movement gap should be installed.  Treated timber battens should be inserted beneath the floating layer at the point of loading in order to counteract localised compression and to provide support beneath the cut edges of the floating floor (see Figure 6).

6.8	Partition Loading

Load-bearing partitions should not be built on top of a floating floor, but should be continuously supported from beneath (as Figure 7).  It is essential that care is taken in setting out partitions in order to ensure that the floor support is in the correct position.

Figure 7	Detail at a load-bearing wall

Non-load-bearing partitions not exceeding 81.5kg/metre (0.8kN/M) run can be built directly on top of the floating floor (see Figure 8).  Reference should be made to any restrictions imposed by the insulation manufacturer.

Figure 8	Supporting a non-load-bearing wall

Where intermediate expansion gaps are required, i.e. in a large floor area, it may be possible to position them under non-load-bearing partitions.

SECTION 7	INSTALLING A SELF-SUPPORTING FLOATING FLOOR (with battens)

A typical construction is shown in Figure 9 below.

Figure 9	OSB or particleboard floor on timber battens

7.1	Timber Battens

When installing a self-supporting floor, timber battens as described in clause 2.5 should be laid on the slab at the appropriate centres, 450mm (maximum) centres for 18/19mm particleboard or 15mm OSB and 600mm (maximum) centres for 22mm particleboard or 18/19mm OSB.

NOTE:	Any gaps beneath the battens caused by unevenness in the sub structure should be packed with a durable rigid material (e.g. preservatively treated timber, tempered hardboard, dry mix sand and cement mortar).

7.2	Insulation

The insulation should be placed between the battens, butting all joints tightly together with no gaps.

7.3	Moisture and Vapour Control Layer

All particleboard and OSB floating floors should incorporate a vapour control layer.  A moisture and vapour control layer providing a vapour resistance of not less than 200 MNs/g (minimum 1000 gauge) should be laid above the insulation layer and should be upturned by at least 38mm around perimeter walls.  Any joints in the sheet should be lapped (150mm (minimum) and the joints taped with a vapour resistant tape.

7.4	Particleboard and OSB Overlay

Only types P5 or P7 particleboard (see clause 2.1) and types OSB/3 or OSB/4 oriented strand board (see clause 2.2) should be used as the overlay board on a self supporting floor.  For domestic use (restricted to uniformly distributed load of 1.5 kN/m2), particleboard of not less than 18mm and OSB of not less than 15mm should be used.

(For non-domestic use, or for floors requiring restricted deflection (restricted to uniformly distributed load < 2.5 kN/m2 and concentrated load < 2.7 kN/m2), particleboard of not less than 22mm and OSB of not less than 18mm should be used).

The boards should be laid with their long edges across the supporting battens.  The short edges should be supported along the centre line of a batten.  Short edge joints should be staggered and the board length should be not less than two batten spacings.  It is essential that the edges around the perimeter of the floor are continuously supported by battens.

All tongued and grooved joints should be glued with an adhesive conforming to at least durability class D3 of EN 204.  Adhesive should be liberally applied to the tongue and to the groove.

Boards should be fixed to battens using manufacturer’s recommendations (gluing or mechanical fixing), when nails or screws are specified use corrosion resistant fixings.  Corrosion resistant materials include brass, galvanised steel, sheradised steel or austenitic stainless steel.

When nailing, flat headed annular grooved or ringshank nails, or other improved nails which have superior holding power should be used.  Minimum nail length should be 2.5 times the board thickness, and minimum diameter 3mm or 0.16 times the thickness whichever is the greater.

Nail fixings should be 300mm centres (max) and the minimum edge distance should be 8mm.  All nail heads should be punched home by 2-3mm.  Screws should be countersunk below the top surface.

7.5 Plasterboard Planks

Where a plasterboard plank is employed between the structural deck and the floating floor wood-based panel overlay, the plasterboard should be laid at 90o to the battens below.

The manufacturer’s instructions for the plasterboard plank system being used should be followed for details on fixing and the materials to be employed.

7.6	Movement Gaps

It is essential to allow for possible expansion by providing a gap wherever boards abut any rigid upstand such as a perimeter wall/internal load-bearing walls, column, pipes or fireplace surround.  (See clause 6.4).

7.7	Access to Pipes and Services

Before laying the battens and wood panel overlay, consideration should be given to the provision of access to pipes and services.  (see clause 6.5).

7.8	Thresholds

At openings in walls built directly on the concrete substructure a movement gap should be provided.  Treated timber battens should be inserted beneath the wood panel overlay at the point of loading in order to counteract localised compression and to provide support beneath the cut edges of the particleboard (see Figure 10).

Figure 10	Detail of the threshold of a doorway in a wall which is built off the supporting concrete structure when a battened floor is used

7.9	Partition Loading

Load-bearing partitions should not be built on top of the wood panel deck, unless continuously supported from beneath.  Non-load-bearing partitions not exceeding 81.5kg/metre (0.8kN/M) run may be built directly on top of the wood panel deck without continuous support, provided it is on top of, and at right angles to the batten support.  It is essential that care is taken in setting out of partitions in order to ensure that the floor support is in the correct position.

SECTION 8	FINISHING

8.1	Carpet and Sheet Flooring

The recommendations given in BS 8203 should be followed.  Where carpet is to be laid over the wood panel floating floor and held in place using pre-nailed carpet gripper, adequate edge distance (minimum 25mm from the edge of the panel) should be left for the gripper nails to avoid splitting the boards.

Sheet flooring can be loose laid or bonded directly to the board surface.

In common with any thin flooring surface, thin sheet flooring or thin carpet may allow the board joints beneath to show through, particularly after trafficking, and should be avoided.  It is permissible to sand off up to 1mm thickness from any raised joint areas.  If raised areas exceed 1mm after sanding, then additional levelling materials may be required.

NOTE:		Sanding off more than 1mm from a raised joint may weaken the joint.

Where thin vinyl is used, it is recommended that a panel overlay e.g. (4mm plywood or 3mm hardboard) is fixed in position, staggering joints so as not to coincide with those of the floating overlay.

It is essential that the overlay board is properly conditioned prior to laying.  The overlay can be fixed using nails or screws every 100mm around the perimeter and 150mm elsewhere, ensuring they do not protrude above the surface.  Conditioning and fixing recommendations for fabricated underlays is given in BS 8203 or reference should be made to the carpet or vinyl manufacturer's recommendations.

NOTE 1:	Thin plain coloured vinyl or carpet will tend to show small irregularities in a floor surface, to a greater extent than thicker, patterned or textured finishes.

NOTE 2:	Where fully bonded floor coverings ride over intermediate movement joints, any resulting movement may cause the covering to stretch or ridge.

8.2 	Ceramic Tiling

Tiling onto floating timber bases is not recommended.  Guidance as to the construction of fixed timber bases in respect of tiling considerations is given in the Tile Association publication “Tiling to timber sheets and boards. Timber substrates and alternative products”.

NOTE: At the time of writing, this document was in the process of being updated and may be published under a different title.

## APPENDIX A.	PUBLICATIONS REFERRED TO IN THIS CODE

| CP102 |  | Code of Practice for the protection of building against water from the ground |
| --- | --- | --- |
| BS EN 204 |  | Classification of non-structural adhesives for joining of wood and derived timber products |
| BS EN 300 |  | Oriented Strand Board (OSB) – Definitions, classification and specifications |
| BS EN 309 |  | Wood Particleboards – Definition and classification |
| BS EN 312 |  | Particleboards – Specifications |
|  | Part 5: | Requirements for load-bearing boards for use in humid conditions |
| BS EN 312 |  | Particleboards – Specifications |
|  | Part 7: | Requirements for heavy duty load-bearing boards for use in humid conditions |
| BS 3837 |  | Expanded polystyrene boards |
| BS 5268 |  | Structural use of timber |
|  | Part 5: | Code of practice for the preservative treatment of structural timber |
| BS 6398 |  | Specification for bitumen damp-proof courses for masonry |
| BS 6925 |  | Specifications for mastic asphalt for building and civil engineering |
| BS 8102 |  | Code of practice for protection of structures against water from the ground |
| BS 8201 |  | Code of practice for flooring of timber, timber products and wood-based panel products |
| BS 8203 |  | Code of practice for installation of resilient floor coverings |
| BS 8204 |  | Screeds, bases and in-situ floorings |
|  | Part 1: | Code of Practice for concrete bases and cement sand levelling screeds to receive floorings |
| BS 8417 |  | Preservation of wood. Code of practice |
| BS EN 13810 | Part 1 | Wood-based panels. Floating floors. Performance specifications and requirements |
| DD CEN/TS 13810 | Part 2 | Wood-based panels. Floating floors. Test methods |

CIBSE Guide A3.  Thermal properties of building structures 1980

Notice: This document is distributed solely on condition that:

No part or extract of this publication is reproduced or transmitted in any form or by any means electronic, mechanical, photocopying, recording or otherwise, or stored in any retrieval system of any nature without the prior written agreement of the Wood Panel Industries Federation

WPIF - Wood Panel Industries Federation

Autumn Park Business Centre

Dysart Road

Grantham

Lincolnshire

NG31 6EU

Tel: 01476 512381     Fax: 01476 575683

Email: enquiries@wpif.org.uk

Whilst every care is taken to ensure accuracy and completeness of the information given by WPIF, no responsibility can be accepted with respect thereof.

# Text boxes

INDUSTRY STANDARD 	IS (WPIF) 3/2014

Insulation

Damp proof membrane

Tongued and grooved floor with all joints glued.  Joints in the chipboard and the insulation should be staggered and not coincident

Moisture and vapour control layer (For proprietary bonded wood based panel and insulation floors refer to manufacturers recommendations in respect of vcl requirements)

Tongued and grooved floor with all joints glued.  Joints in the floor and the insulation should be staggered and not coincident

Insulation

A levelling screed may be required if the top surface of the subfloor is not adequately flat.  Screed should be fully dry before the floating floor is laid

Moisture and vapour control layer (For proprietary bonded wood based panel and insulation floors refer to manufacturers recommendations in respect of vcl requirements)

Insulation

Perimeter batten may be required, refer to insulation manufacturers recommendations

Vapour control layer turned

up behind skirting

3mm gap between floor panel and bottom of skirting

floating floor to have square cut edges to the movement joint and to be screwed to battens at approx 600mm centres

Movement joint with

cork (or similar) infill

Vapour control layer

Insulation

Preservative treated battens beneath joint

Gap between battens at least equal to gap between flooring boards

Proprietary steel services duct

or

Heavy duty polythene sheet over timber  battens to form a duct

duct services duct

3mm gap between floor panel and bottom of skirting

Screw fixed access panel

floating

floor

Pipework should be insulated and duct filled with mineral fibre or similar insulation to prevent cold bridging

Vapour control layer lapped over edge of duct

Door frame

Hardwood or proprietary

aluminium threshold strip

Movement gap equal to the sum of the gaps on each side of the wall e.g. 10mm x 2 = 20mm

Vapour control layers lapped at door opening

Insulation

Timber batten(s) for full

Width of door opening

Note: In a non-load-bearing wall condition where the floating floor is continuous beneath the wall, (as shown in Fig. 8) the floor can continue beneath the door opening without incorporating a movement gap

Movement gap

Figure 6        Details at the threshold of a doorway in a wall which is built off the supporting concrete structure when a continuously supported floor is used.

Load-bearing internal wall

Movement gap between floor and wall

Sole plate

DPC under sole plate damp proof membrane lapped over DPC or continued through beneath it

3mm gap between floor panel & bottom of skirting

VCL turned up face of wall

Damp proof membrane

Non-load-bearing internal wall or partition

floating floor continuous beneath wall

Timber batten beneath wall recommended if weight of wall is greater than 0.8kN/M (81.5kg/metre run

Tongued and grooved flooring laid with short edges supported on battens and all joints glued

Moisture and vapour control layer

Damp proof membrane

Ground supported concrete slab

Insulation

Preservative treated battens

Precast concrete floor

Door frame

Hardwood or proprietary aluminium threshold

Movement gap equal to the sum of the gaps on each side of wall e.g.10mmx2= 20mm

Vapour control layers lapped at door opening

Battens for full width of door opening – gap between battens at least equal to gap between flooring boards

Movement gap